AUTOMATED DAILY ProcesSING of 1000+ Ground-Based GPS Receivers to StuDY Intense IONOSPHERIC STORMS

Attila Komjathy, Lawrence Sparks, Brian D. Wilson and Anthony J. Mannucci

Jet Propulsion Laboratory/ California Institute of Technology

# M/S 138-308, 4800 Oak Grove Drive, Pasadena, CA 91109

ABSTRACT

As the number of ground and space-based receivers tracking the Global Positioning System satellites (GPS) steadily increases, it is becoming possible to monitor changes in the ionosphere continuously and on a global scale with unprecedented accuracy and reliability. At the time of writing this paper (March 2005), there are more than 1000 globally-distributed dual-frequency GPS receivers available using publicly accessible networks including, for example, the International GPS Service (GPS) and Continuously Operating GPS Stations (CORS).

To take advantage of the vast amount of GPS data, researchers use a number of techniques to estimate satellite and receiver interfrequency biases and the total electron content (TEC) of the ionosphere. Most techniques simultaneously estimate vertical ionospheric structure along with hardware-related biases treated as nuisance parameters. These methods often have a limitation of using up to a couple of hundred GPS receivers, utilizing a sequential least squares or Kalman filter approach. The biases are then later removed from the measurements to obtain unbiased TEC.

In our approach to calibrating GPS receiver and transmitter interfrequency biases, we take advantage of all available GPS receivers using a new processing algorithm, based on the Global Ionospheric Mapping (GIM) software developed at the Jet Propulsion Laboratory. This new capability is designed to estimate receiver biases for all stations. In this new approach, we solve for the instrumental biases by modeling the ionospheric delay and removing it from the observation equation using pre-computed GIM maps. The pre-computed GPS maps use about 200 globally-distributed GPS receivers to establish the “background” used to model the ionosphere at the remaining 800 GPS sites. We found that this new bias estimation method results in a better than 1 TECU accuracy for middle latitude and better than 2 TECU for low-latitude stations.

INTRODUCTION

During the last few years, GPS has become one of the most powerful research tools to study the temporal and spatial variability of the global ionospheric TEC even though GPS was not originally designed as a scientific observing system. Ionospheric measurements using GPS are readily accessible to the scientific community, while researchers recognize that GPS does not provide us with direct measurements of TEC. To be able to derive high precision TEC measurements using GPS, we need to estimate the satellite and receiver differential biases “corrupting” the GPS TEC measurements. The research community needs ever more powerful algorithms to estimate TEC, process and quality check the large amount of GPS data currently available on a daily basis.

In the last 10 years, the number of GPS ground receivers has increased by as much as an order of magnitude. The number of GPS receivers available worldwide has again doubled over the last few years. Currently data from about 2000 GPS receivers worldwide are accessible. On a daily basis, data from about 1000 GPS receivers are available to monitor the temporal and spatial variability of the global ionosphere. Algorithms have been developed to process all these data sets. This new research addresses the issue of calibrating large numbers of GPS receivers in a time efficient manner enabling daily monitoring of the quiet and storm-time ionosphere impacting satellite-based radio navigation systems such as GPS, GLONASS, and the future Galileo.

In this paper, we describe a new algorithm to generate and process the large amount of GPS data that can be downloaded off the internet every day. The new stand-alone software package downloads the data, edits and processes it to generate global vertical total electron content (VTEC) animations and calibrated slant TEC data files without user intervention. This is a potential resource for the world scientific and engineering community that can be made available on a JPL ftp site.

# CONVENTIONAL JPL GIM bias estimaton strategy

Over the course of the past decade, we have used the Global Ionospheric Mapping (GIM) software developed at the Jet Propulsion Laboratory [Mannucci et al., 1998] to compute high precision slant ionospheric delay by removing the satellite and receiver differential biases from the ionospheric observables. As a source of reference, the estimation of the satellite and receiver biases is described here briefly.

Ionospheric measurements from a GPS receiver can be modeled with the well-known single-shell ionospheric model using the following observation equation [see e.g., Mannucci et al., 1999 and Komjathy et al., 2002]:

, 								(1)

where

is the slant Total Electron Content measured by the linear combination of the GPS dual-frequency carrier phase and pseudorange ionospheric observables, typically expressed in TEC units. One TEC Unit (1016electron/m2) corresponds to about 0.163 meter ionospheric delay at the L1 frequency,

is the thin-shell mapping function for ionospheric shell height h and satellite elevation angle E (for the definition of the thin-shell geometric mapping function see e.g. Mannucci et al., [1998],

(lat,lon) are horizontal basis functions (based on, for example, spherical harmonics or bicubic splines) evaluated at the ionospheric pierce point (IPP) ( the intersection of the ray path of a signal propagating from the satellite to the receiver with a thin spherical shell ( located at latitude lat and longitude lon on the thin shell,

are basis function coefficients (real numbers),

are the satellite and receiver differential biases, assumed constant over periods of 24 hours or more.

The dependence of vertical TEC on latitude and longitude is parameterized as a linear combination of the two-dimensional basis functions Bi which are functions of solar-geomagnetic longitude and latitude [Mannucci et al., 1998] (We note that the summation in Equation 1 is over all basis functions ). Using the ionospheric GPS observables based on carrier-phase data [Mannucci, 1998], a Kalman filter simultaneously solves for the instrumental biases and the coefficients Ci which are allowed to vary in time as a random walk stochastic process [Iijima et al., 1999]. The basis functions currently used are based on a bicubic spline technique developed at JPL.

NEW JPL GIM BIAS ESTIMATION STRATEGY: THE BIAS FIXING METHOD

The new bias-fixing algorithm comprises of three main parts. Firstly, we estimate highly precise satellite and receiver interfrequency biases using about 200 GPS receivers worldwide. The output of this Kalman-filter based least-squares estimation scheme serves as the background ionosphere for the later part of the estimation technique. During the first step, the Kalman filter estimates the satellite and receiver differential biases for about 200 GPS receivers using GIM.

In the second part of the processing, we use the output of the 200-station-based ionosphere and correct the remaining  (about 800 of them) for the ionospheric contribution. Following the notations we used in the previous section, we define a new observation equation for each receiver in our network that isolates the bias contribution to each TEC measurement:

,							(2)

where the first term (TEC) is the biased line-of-sight TEC measurement, the second term is the GIM TEC prediction using a 200-site run generated beforehand, and the third term is the GIM satellite bias estimate computed during the previous 200-site run.

In summary, we form a new observation equation by essentially removing all the unknowns in the system of normal equations and subsequently we solve for the receiver differential biases directly. By doing so, we estimate about 800 unknowns corresponding to the receiver differential delays in the entire global network. The remaining error sources in the bias Equation (2) are the multipath and receiver noise contributions left uncorrected in the observation equation and the error in ionosphere, residual to the GIM estimate for the site in question.

In a subsequent, third, post-processing step we combine all the processed data and generate our new products for the scientific and engineering community to take advantage of. These currently include the global or regional vertical electron content maps and satellite and receiver differential biases. This software package has been running continuously on a daily basis since October 2004 generating TEC animations capturing the scientific community’s attention due to the massive amount of GPS data that has not been processed before, to the best of our knowledge, in an automated fashion, every day.

COMPARISON OF RECEIVER BIAS ESTIMATION METHODS

We will first evaluate the accuracy of the new “bias fixing” method by comparing with the traditional GIM bias estimation scheme described in Equation (1), which we assume provides us with the ground-truth value. For computing ground-truth, we evaluate a 240-station single-shell GIM run for quiet and storm days to minimize GIM estimation error. Separately, we performed a bias-fixing run using the same 240 stations. The bias differences between the 240 station GIM and the bias-fixing run are displayed in Figure 1.  Also displayed are data edited with two different criteria: 1) “loose” (left panels) and 2) “strict” (right panels) approaches. The loose editing criterion disables all our data editing algorithms except for monitoring apparent rates of change in GPS in the phase data (ionospheric combination, L1-L2) over consecutive data points (30-second interval). This editing uses the GIPSY program “SanEdit” [Blewitt, 1990] designed to check for cycle slips in the GPS phase data, but rejects data only when the phase difference L1-L2 exceeds a large value of 2 meters. The stricter criterion also involves using cycle slip detection algorithms based on widelane, narrowlane and geometry-free linear combinations of the dual-frequency GPS observables, as designed for detecting and fixing carrier-phase cycle slips [Blewitt, 1990]. The significance of using strict and loose criteria is that for bias estimation purposes, it is best to use clean data, i.e., strict data editing thresholds are desirable. On the other hand, for storm-time ionospheric investigations, it is best to relax the editing thresholds to include as much data as possible: hence using loose data editing. For storm-time investigations, it is desirable to process the data in two stages. First, we estimate the biases using strict data editing thresholds. Secondly, we use the estimated biases to compute un-biased line-of-sight TEC measurements to conduct ionospheric studies with data edited according to the looser criterion. In the Figure 1, we distinguish between quiet and storm time conditions to assess bias estimation accuracy differences, validating that this two-step approach is useful.

Figure 1. Biases comparison between the new bias-fixing method and the previous full-estimation approach, for quiet and storm day conditions and different data editing criteria applied. The red dots are for a 98-site set of receivers common between the two runs, and the blue dots are for the remaining 142 sites.

The red dots in Figure 1 correspond to bias differences estimated in the two techniques, using a set of 98 sites that were common between the single-shell GIM run and the newer bias-fixing run, whereas the blue dots are bias differences for the remaining 240-98=142 stations used only in the bias-fixing approach. In Figure 1, there is apparently little difference between the biases for stations common between the bias fixing and the truth run (red) and those stations not included in the truth run (blue). We plotted the bias differences as a function of station latitudes to demonstrate the performance separately for middle and low latitude conditions. The upper panels demonstrate the bias estimation accuracy for loose (left) and strict (right) editing criteria. For the quiet time middle latitude conditions, our bias fixing method provides us with an accuracy better than 1 TECU, and for low-latitude conditions better than 2 TECU. The mean and standard deviation of the bias estimates indicate that we achieve about 25% improvement in the accuracy of bias estimates using a strict editing criteria. For the storm-time conditions (lower panels), the accuracy of our bias estimates are better than 4 TECU for mid-latitude and better than 6 TECU for low-latitude conditions.

The storm-time bias estimation accuracy appears to be degraded. This is not unexpected since the accuracy of bias estimation strategies generally depend on the accuracy of the underlying ionospheric estimation method, in this case GIM. When the GIM prediction accuracy is poor, this will have a negative impact on the accuracy of both the bias-fixing and full-estimation approaches. As a consequence of this, for operational use we propose a strategy to estimate biases prior to storm-time conditions using strict criteria and then apply those biases for storm-time conditions without re-estimating them. This assumes the biases do not change significantly on a day-to-day basis which is often the case [e.g., Sardon and Zarraoa, 1997 and Mannucci et al., 1999]. This strategy has helped us achieve about 20-25% overall bias accuracy improvements over using loose editing criteria for all data editing.

SLANT TEC USING THE BIAS FIXING METHOD

We now analyze measured TEC using the new bias fixing method.  In Figure 2, we show an example of the estimated bias time series described in Equation 2. The scatter in the upper-panel time series can be caused by: errors in GIM, multipath, measurement noise and sub-daily bias drifts. Ideally, the data in Figure 2 should all lie on a horizontal line indicating the bias value for the site, but this seldom occurs. The receiver bias is estimated by fitting a straight line to the time series for one day, implicitly assuming that the receiver bias is constant for that day. Once we have the receiver bias computed, we remove it from the raw GPS measurements and plot the slant TEC data, as is shown in the middle panel of Figure 2. This provides us with a sanity check of the bias estimate for each station. In the middle panel it is encouraging that all  TEC values are positive, and that the diurnal variation of the TEC is as expected, which reassures us that the algorithm is performing well. In the third, bottom panel, we show the geographic location of station ALGO. We generate a similar plot for every station processed in the network. If case of data processing errors, these plots help us diagnose any potential problems such as poorly leveled data, receiver hardware problems, data dropouts, uncorrected cycle slips, noisy measurements, high multipath environment, storm-time conditions, etc.

In Figure 3, we demonstrate the challenges in estimating biases during storm-time conditions.  This is also a plot of the bias residual time series (Equation 2), but for a site that was included in the GIM bias estimation and for storm time conditions. The later part of July 15, 2000 shows large scatter in the time series mainly due to the fact that our GIM model (see Equation 2, second term) introduced increased error during the ionospheric storm. The next day, the storm continued displaying large scatter for the bias observable. Clearly, estimating biases for this day increases the magnitude of GIM error contributing to bias estimation error. The solution lies in using the quiet-time data only for bias estimation and then use these estimated biases to correct for the GPS ionospheric observables for storm-time behavior.

Figure 2. An example plot of bias estimation for a middle-latitude station ALGO.

*

Figure 3. Difficulties in estimating biases for storm-time conditions.

## An Example of Recent 1000-Site VTEC MAP and DISCUSSION

As described in earlier sections, we process individual stations (up to about 1000 on a daily basis) to derive slant TEC, as displayed in the middle panels of Figures 2 and 3. Our daily process collects all slant TEC data points, maps the slant data points into the vertical, and bins the data points on a 2 degree by 2 degree global grid. The mean value for every grid bin computed for a 15-minute interval is plotted in a color-scale.  The frames are then combined and mpeg format movies are generated and made available to the public at ftp://sideshow.jpl.nasa.gov/pub/axk/allsites/.

No interpolation between pixels is performed for these animations (in contrast to GIM which produces interpolated TEC values for all locations and times). The animations are purely data-driven and no other data sources are used to generate them. Typically, this results in large data gaps in the Atlantic and Pacific regions, as well as in Africa. However no artifacts from interpolation are introduced which might produce complications for scientific analysis.

Figure 4. An example frame of daily all-site VTEC point-plot maps.

In Figure 4 is shown an example frame of a global VTEC snapshot displaying the contribution of about 1000 globally distributed sites. The movies are useful tools to investigate storm-time behavior such as the storm event of the May 2003 storm [e.g., Immel et al., 2005]. The VTEC map in Figure 4 shows the increased ionization in the North American sector caused by a major geomagnetic storm event, initiated by a Bz-southward turning at 16:50 UT on October 30, 2003 [Mannucci et al., 2005].

CONCLUSIONS

We have described a new method of estimating GPS receiver biases that can be applied to large networks of receivers (> 1000) on a daily basis with unattended operation. This new “bias-fixing” technique allows us to compute absolute TEC and combine them to plot global ionospheric snapshots with excellent global coverage. The accuracy of the middle latitude receiver biases is generally better than 1 TECU, and better than 2 TECU for equatorial sites. A method has been devised and demonstrated to estimate biases for quiet ionospheric days for application to storm-time conditions.

The October and November 2003 storm events have been among the largest in recent history. Simultaneously, the GPS coverage has doubled in the last few years. For subsequent large storm events, GPS receiver networks provide an exciting opportunity to investigate the dynamic behavior of ionospheric storms events impacting communication, navigation systems, power grids, to name only a few.

# Acknowledgments

This research was performed at the Jet Propulsion Laboratory/California Institute of Technology under contract to the National Aeronautics and Space Administration.

REFERENCES

Blewitt, G. (1990), An automatic editing algorithm for GPS data, Geophysical Research Letters, 17(3), 199–202.

Iijima, B.A., I.L. Harris, C.M. Ho, U.J. Lindqwister, A.J. Mannucci, X. Pi, M.J. Reyes, L.C. Sparks, B.D. Wilson (1999). “Automated Daily Process for Global Ionospheric Total Electron Content Maps and Satellite Ocean Altimeter Ionospheric Calibration Based on Global Positioning System.” Journal of Atmospheric and Solar-Terrestrial Physics, Vol. 61, pp. 1205-1218.

Immel, T., J.C. Foster, A.J. Coster, S.B. Mende and H.U. Frey (2005). “Global storm time plasma redistribution imaged from ground and space”, Geophyical Research Letters, Vol. 32, L03106.

Komjathy, A., B.D. Wilson, T.F. Runge, B.M. Boulat, A.J. Mannucci, L. Sparks and M.J. Reyes (2002). “A New Ionospheric Model for Wide Area Differential GPS: The Multiple Shell Approach.” On the CD-ROM of the Proceedings of the National Technical Meeting of the Institute of Navigation, San Diego, CA, January 28-30.

Mannucci, A.J., B.D. Wilson, D.N. Yuan, C.H. Ho, U.J. Lindqwister and T.F. Runge (1998). “A Global Mapping Technique for GPS-derived Ionospheric Total Electron Content Measurements.” Radio Science, Vol.33, pp.565-582.

Mannucci A.J., B.A. Iijima, L. Sparks, X. Pi, B.D. Wilson and U.J. Lindqwister (1999). “Assessment of Global TEC Mapping Using a Three-Dimensional Electron Density Model.” Journal of Atmospheric and Solar Terrestrial Physics, Vol. 61, pp. 1227-1236.

Mannucci, A.J., B.T. Tsurutani, B.A. Iijima, A. Komjathy, A. Saito, W.D. Gonzalez, F.L. Guarnieri, J.U. Kozyra, R. Skoug, Dayside Global Ionospheric Response to the Major Interplanetary Events of October 29-30, 2003 “Halloween Storms”, Geophysical Research Letters, accepted for publication, 2005.

Sardon, E. and N. Zarraoa (1997). “Estimation of total electron content using GPS data – how stable are the differential satellite and receiver instrumental biases?” Radio Science, Vol. 32, pp. 1899-1910.